## qs_b354_Water_Column_Profile_Ev
Park_code | Site_code | Site_name | Location_code | Location_type | Event_year | Start_date | Is_excluded | QA_notes | Event_notes | Event_ID
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2017 | 2017-08-14 | FALSE |  |  | 2231
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2016 | 2016-08-15 | FALSE |  |  | 1436
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2015 | 2015-08-10 | FALSE |  |  | 1430
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2014 | 2014-08-18 | FALSE |  |  | 1442
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2013 | 2013-08-13 | FALSE |  |  | 1971
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2012 | 2012-08-20 | FALSE |  |  | 1984
MORA | LH14 | Upper Palisades Lake | DP | Water Column Profile | 2011 | 2011-08-30 | FALSE |  |  | 2132
MORA | LH15 | LH15 | DP | Water Column Profile | 2017 | 2017-08-15 | FALSE | Sonde did not sit at 6 m for a full 2 minutes. DO did not fully stabilize. | Sonde did not sit at 6 m for a full 2 minutes. DO did not fully stabilize. | 2234
MORA | LH15 | LH15 | DP | Water Column Profile | 2016 | 2016-08-16 | FALSE |  |  | 1437
MORA | LH15 | LH15 | DP | Water Column Profile | 2015 | 2015-08-11 | FALSE |  |  | 1431
MORA | LH15 | LH15 | DP | Water Column Profile | 2014 | 2014-08-12 | FALSE |  |  | 1443
MORA | LH15 | LH15 | DP | Water Column Profile | 2013 | 2013-08-14 | FALSE |  |  | 1972
MORA | LH15 | LH15 | DP | Water Column Profile | 2012 | 2012-08-21 | FALSE |  |  | 1986
MORA | LH15 | LH15 | DP | Water Column Profile | 2011 | 2011-08-31 | FALSE |  |  | 1985
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2017 | 2017-08-08 | FALSE |  |  | 2267
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2016 | 2016-08-09 | FALSE |  |  | 1438
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2015 | 2015-07-30 | FALSE |  |  | 1432
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2014 | 2014-08-05 | FALSE |  |  | 1444
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2013 | 2013-08-06 | FALSE |  |  | 1973
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2012 | 2012-08-13 | FALSE |  |  | 1987
MORA | LN03 | Lake Allen | DP | Water Column Profile | 2011 | 2011-08-29 | FALSE |  |  | 2140
MORA | LP19 | LP19 | DP | Water Column Profile | 2017 | 2017-08-02 | FALSE |  |  | 2268
MORA | LP19 | LP19 | DP | Water Column Profile | 2016 | 2016-08-03 | FALSE |  |  | 1440
MORA | LP19 | LP19 | DP | Water Column Profile | 2015 | 2015-07-27 | FALSE |  |  | 1433
MORA | LP19 | LP19 | DP | Water Column Profile | 2014 | 2014-07-30 | FALSE |  |  | 1445
MORA | LP19 | LP19 | DP | Water Column Profile | 2013 | 2013-07-31 | FALSE |  |  | 1974
MORA | LP19 | LP19 | DP | Water Column Profile | 2012 | 2012-08-06 | FALSE |  |  | 1988
MORA | LP19 | LP19 | DP | Water Column Profile | 2011 | 2011-08-15 | FALSE |  |  | 2141
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2017 | 2017-08-09 | FALSE |  |  | 2269
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2016 | 2016-08-10 | FALSE |  |  | 1441
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2015 | 2015-08-17 | FALSE |  |  | 1434
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2014 | 2014-08-19 | FALSE |  |  | 1446
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2013 | 2013-08-22 | FALSE |  |  | 1975
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2012 | 2012-08-27 | FALSE |  |  | 1989
MORA | LW32 | Upper Deadwood Lake | DP | Water Column Profile | 2011 | 2011-09-06 | FALSE |  |  | 2142
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2017 | 2017-08-22 | FALSE |  |  | 2270
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2016 | 2016-08-23 | FALSE |  |  | 1439
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2015 | 2015-08-25 | FALSE |  |  | 1435
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2014 | 2014-08-26 | FALSE |  |  | 1447
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2013 | 2013-08-28 | FALSE |  |  | 1976
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2012 | 2012-09-05 | FALSE |  |  | 1990
MORA | LZ35 | Blue Lake | DP | Water Column Profile | 2011 | 2011-09-13 | FALSE |  |  | 2143
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2017 | 2017-08-16 | FALSE |  |  | 2903
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2016 | 2016-08-30 | FALSE |  |  | 2120
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2015 | 2015-09-16 | FALSE | Field form says 9/15/15 but logger files have 9/16/15 (LPG, 6/6/17) |  | 2118
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2014 | 2014-09-29 | FALSE |  |  | 2607
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2013 | 2013-09-26 | FALSE |  |  | 2663
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2012 | 2012-09-21 | FALSE |  |  | 2707
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2011 | 2011-09-20 | FALSE |  |  | 2732
NOCA | LS-07-01 | Lower Blum Lake | DP | Water Column Profile | 2009 | 2009-08-25 | FALSE |  | DO values seem high. | 2804
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2017 | 2017-09-06 | FALSE |  | pH mv drop from high to low through out sampling. | 2915
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2016 | 2016-09-28 | FALSE |  | Field form comments: "DO profile suspect, 12/14/16 CW" "Started profile at 8.0m depth" | 2116
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2015 | 2015-09-29 | FALSE |  |  | 2117
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2014 | 2014-10-02 | FALSE |  |  | 2616
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2013 | 2013-09-19 | FALSE |  |  | 2672
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2012 | 2012-09-05 | FALSE |  |  | 2690
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2011 | 2011-09-29 | FALSE |  |  | 2744
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2010 | 2010-08-17 | FALSE |  |  | 2727
NOCA | MA-03-01 | Low Silent Lake | DP | Water Column Profile | 2009 | 2009-08-18 | FALSE | DO seems high |  | 2799
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2017 | 2017-10-03 | FALSE |  |  | 2917
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2015 | 2015-09-23 | FALSE |  |  | 2122
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2014 | 2014-09-29 | FALSE |  |  | 2629
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2013 | 2013-08-28 | FALSE |  |  | 2673
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2012 | 2012-09-12 | FALSE |  |  | 2703
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2011 | 2011-09-19 | FALSE |  |  | 2725
NOCA | MC-03-01 | Easy Ridge Lake | DP | Water Column Profile | 2009 | 2009-09-01 | FALSE |  | When calibrating SpCond, the range was out of normal. Tried a temperature correction but had to accept the out of range. | 2756
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2017 | 2017-08-30 | FALSE |  |  | 2916
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2016 | 2016-08-24 | FALSE |  | Field form Comments: "DO profile bad, do not use. 12/14/16 CW" | 2121
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2015 | 2015-08-26 | FALSE |  |  | 2124
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2014 | 2014-09-04 | FALSE |  |  | 2635
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2013 | 2013-08-27 | FALSE |  |  | 2651
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2012 | 2012-09-11 | FALSE |  |  | 2697
NOCA | MC-14-02 | Lower East Lake | DP | Water Column Profile | 2011 | 2011-09-29 | FALSE |  |  | 2739
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2017 | 2017-09-12 | FALSE |  |  | 2918
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2016 | 2016-08-30 | FALSE |  | Field form Comments: "3 min @ 8 m, 1 min @ 0.5m, up to surface" "DO calibrated out of range, had to accept, tried cooling probe and rinsing in fresh water, still read out of range, DO gain - 0.7581. Recalibrating didn't work" | 2119
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2015 | 2015-09-03 | FALSE |  |  | 2123
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2014 | 2014-08-12 | FALSE |  |  | 2128
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2013 | 2013-08-22 | FALSE |  |  | 2578
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2012 | 2012-08-29 | FALSE |  |  | 2585
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2011 | 2011-08-22 | FALSE |  |  | 2713
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2010 | 2010-08-19 | FALSE |  |  | 2715
NOCA | MR-12-01 | Bowan Lake | DP | Water Column Profile | 2009 | 2009-08-12 | FALSE |  |  | 2800
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2017 | 2017-08-09 | FALSE |  |  | 2914
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2016 | 2016-08-16 | FALSE |  | Field form note: "No calibration data available, unlikely that DO was calibrated. 12/13/16 CW" | 2105
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2015 | 2015-08-12 | FALSE |  |  | 2011
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2014 | 2014-08-04 | FALSE |  |  | 2558
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2013 | 2013-08-20 | FALSE |  |  | 2564
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2012 | 2012-08-28 | FALSE |  |  | 2574
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2011 | 2011-08-17 | FALSE |  |  | 2565
NOCA | SM-02-02 | Upper Triplet Lake | DP | Water Column Profile | 2010 | 2010-08-11 | FALSE | DO is unusually high at all depths. |  | 2569
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2017 | 2017-08-09 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 3013
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2016 | 2016-08-11 | FALSE | Seconds portion of timestamp estimated when data were loaded. | Baccus: Depth sensor not working properly, depth values are recorded values divided by 2, with depth bin categories based on this conversion. | 3012
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2015 | 2015-07-23 | FALSE |  |  | 1453
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2013 | 2013-08-07 | FALSE |  |  | 1461
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2012 | 2012-08-09 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1473
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2011 | 2011-08-16 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1478
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2010 | 2010-09-30 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3011
OLYM | 106 | Gladys Lake | DP | Water Column Profile | 2009 | 2009-09-24 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3010
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2017 | 2017-08-26 | FALSE |  |  | 3009
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2016 | 2016-09-08 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 3008
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2015 | 2015-08-12 | FALSE |  |  | 1449
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2013 | 2013-09-05 | FALSE |  |  | 1463
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2012 | 2012-08-22 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1471
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2011 | 2011-09-06 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1480
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2010 | 2010-09-22 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3007
OLYM | 138 | Ferry Lake | DP | Water Column Profile | 2009 | 2009-09-02 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3006
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2017 | 2017-08-17 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 3025
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2016 | 2016-07-28 | FALSE | Seconds portion of timestamp estimated when data were loaded. | Baccus: Depth sensor not working properly, depth values are recorded values divided by 2, with depth bin categories based on this conversion. | 3024
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2015 | 2015-08-26 | FALSE |  |  | 1448
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2014 | 2014-09-04 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 1459
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2013 | 2013-08-28 | FALSE | BBaccus: pH and pH_MV data look questionable. Seconds portion of timestamp estimated when data were loaded. |  | 1464
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2012 | 2012-09-13 | FALSE | Seconds portion of timestamp estimated when data were loaded. Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1469
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2011 | 2011-08-29 | FALSE | Depths and timestamps seem out of order, problem with system clock? Seconds portion of timestamp estimated when data were loaded. Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1482
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2010 | 2010-09-02 | FALSE | Seconds portion of timestamp estimated when data were loaded. Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3023
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2009 | 2009-08-19 | FALSE | Seconds portion of timestamp estimated when data were loaded. Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3022
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2008 | 2008-09-11 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3021
OLYM | 263 | Heather Lake | DP | Water Column Profile | 2007 | 2007-08-29 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 2899
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2017 | 2017-09-06 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 2287
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2016 | 2016-08-17 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 2996
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2015 | 2015-09-09 | FALSE |  |  | 1458
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2014 | 2014-09-23 | FALSE |  |  | 1456
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2012 | 2012-09-06 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1472
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2011 | 2011-09-08 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1479
OLYM | 426 | Crazy Lake | DP | Water Column Profile | 2010 | 2010-08-18 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 2997
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2015 | 2015-09-01 | FALSE |  | Baccus: Profile only goes to 9.8m, compared to lake depth of 13. Check data sheet to see why this profile did not go to the bottom of the lake - some issue? | 1450
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2014 | 2014-09-17 | FALSE |  |  | 1468
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2012 | 2012-09-27 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1474
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2011 | 2011-10-13 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1485
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2010 | 2010-09-15 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3041
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2009 | 2009-09-16 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3040
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2008 | 2008-09-26 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3039
OLYM | 498 | Milk Lake | DP | Water Column Profile | 2007 | 2007-09-26 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 2901
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2017 | 2017-09-14 | FALSE | Seconds portion of timestamp estimated when data were loaded. | No data for DO Sat % | 3038
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2016 | 2016-08-03 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 3037
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2015 | 2015-09-16 | FALSE |  |  | 3036
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2014 | 2014-09-10 | FALSE |  |  | 1460
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2013 | 2013-08-16 | FALSE |  |  | 1466
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2012 | 2012-09-20 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1476
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2011 | 2011-09-07 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1484
OLYM | 520 | Lake LaCrosse | DP | Water Column Profile | 2010 | 2010-09-10 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3035
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2017 | 2017-09-27 | FALSE |  |  | 3047
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2016 | 2016-08-23 | FALSE | Seconds portion of timestamp estimated when data were loaded | Baccus: DO data were removed, as way out of range. | 3046
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2015 | 2015-08-18 | FALSE | Seconds portion of timestamp estimated when data were loaded |  | 1451
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2014 | 2014-08-23 | FALSE | Seconds portion of timestamp estimated when data were loaded |  | 1455
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2013 | 2013-08-22 | FALSE | Seconds portion of timestamp estimated when data were loaded |  | 1465
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2012 | 2012-08-28 | FALSE | Seconds portion of timestamp estimated when data were loaded. Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1470
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2011 | 2011-09-21 | FALSE | Seconds portion of timestamp estimated when data were loaded. Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1486
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2009 | 2009-08-27 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3044
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2008 | 2008-08-29 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. | Only 30 seconds of data collected at surface, insufficient data to incorporate 30 sec stabilization time; less than 2 minutes each collected at 1.4 and 2.4 m depth bins. | 3043
OLYM | 623 | Lake Sun Up | DP | Water Column Profile | 2007 | 2007-09-13 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3042
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2017 | 2017-09-21 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 2995
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2016 | 2016-08-25 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 2994
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2015 | 2015-08-20 | FALSE |  |  | 1452
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2014 | 2014-08-25 | FALSE |  |  | 1457
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2013 | 2013-08-21 | FALSE |  |  | 1467
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2012 | 2012-08-30 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1477
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2011 | 2011-09-28 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1483
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2010 | 2010-08-25 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 2993
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2009 | 2009-09-10 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 2992
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2008 | 2008-09-05 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. | Less than 2 minutes sampled each at 0.05 and 0.1m depths | 2991
OLYM | 627 | Lake Connie | DP | Water Column Profile | 2007 | 2007-09-06 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 2990
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2017 | 2017-08-02 | FALSE | Seconds portion of timestamp estimated when data were loaded. |  | 2202
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2016 | 2016-08-31 | FALSE | Seconds portion of timestamp estimated when data were loaded. | Baccus: DO and DO Sat % both out of range (-5.82 to -4.89 for DO and approx. -50 for % Sat). | 3034
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2015 | 2015-07-28 | FALSE |  |  | 1454
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2014 | 2014-07-31 | FALSE |  | Baccus: Depth values seemed incorrect, but consistent, so data were binned into approximate value depth categories. | 3033
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2013 | 2013-07-31 | FALSE |  |  | 1462
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2012 | 2012-08-15 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1475
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2011 | 2011-08-24 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 1481
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2010 | 2010-08-04 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3032
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2009 | 2009-08-13 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3031
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2008 | 2008-08-22 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. |  | 3030
OLYM | Hoh | Hoh Lake | DP | Water Column Profile | 2007 | 2007-09-20 | FALSE | Specific conductivity converted from milliSiemens to microSiemens when data were loaded. | Less than 2 minutes sampled at 13.4m depth | 2898